## Energy Analisys (hidden)
PROPOSAL
| Lime Energy | [5 empty] | 2009-11-15
7801 N. Lamar Blvd. C-63
Austin, TX 78752
(512) 452-7917 Fax (512) 452-9049 Mobil (512) 423-3094
MADICO Solar Window Film
Savings Estimate Work Sheet
Location
| Installation Savings estimate for : | [5 empty] | Reunion Park
|  |  | Endeavor Real Estate Group |  |  |  | 8501 N. Mopac Expressway
|  |  | Ms. Linda Kliarsky |  |  |  | Austin, Texas 78759
at 30 degree latitude with
| Film Type: Madico SRS-220 Solar Film | [5 empty] | 59 % Sunshine
Air conditioning used to remove heat gained through the glass.
Orientation | Glass |  | Heat Gain |  | Cooling Days |  | Solar Heat Gain |  | Total
| Sq. Ft. |  | Sq Ft/ Day |  | Per Year |  | Coefficient |  | Ton Hours
Heat gained through Lite Bronze Tinted Single Pane Glass
North | 2246 | X | 0.0275 | X | 300 | X | 0.75 | = | 13897.125
East | 2314 | X | 0.0618 | X | 300 | X | 0.75 | = | 32176.17
South | 2036 | X | 0.0487 | X | 300 | X | 0.75 | = | 22309.47
West | 2257 | X | 0.0618 | X | 300 | X | 0.75 | = | 31383.585
Total Sq. Ft. | 8853
Current ton hours per year..................................................................... | [8 empty] | 99766.35
Heat gained with Madico SRS-220 Solar Window Film on Bronze Double Pane Glass
North | 2246 | X | 0.0275 | X | 300 | X | 0.25 | = | 4632.375
East | 2314 | X | 0.0618 | X | 300 | X | 0.25 | = | 10725.39
South | 2036 | X | 0.0487 | X | 300 | X | 0.25 | = | 7436.49
West | 2257 | X | 0.0618 | X | 300 | X | 0.25 | = | 10461.195
Total Sq. Ft. | 8853
Projected ton hours per year.................................................................. | [8 empty] | 33255.45
[5 empty] | Difference |  |  |  | 66510.9
[5 empty] | Projected Ton Hours Saved Per Year |  |  |  | 66510.9 |  | 55
[5 empty] | Cost per ton hour |  |  |  | 0.15
[5 empty] | Annual Energy Savings |  |  |  | 9976.635
Estimated Project Cost |  |  | 23658
Sales Tax |  |  | 1951.785 |  | Net Project Cost |  |  |  | 21319.785
Total Cost |  |  | 25609.785 |  | Estimate Pay-Back |  |  |  | 2.137 | years
Estimated Rebate from Austin Energy |  |  | 4290 |  | Return on Investment |  |  |  | 46.8%
Net Project Cost |  |  | 21319.785
(1) The heat gain factor indicates the average ton hours per square foot per day as
computed from the 2001 ASHRAE handbook.
(2) The shading coefficient for the existing glass is also computed from the 2001
ASHRAE handbook. The Shading coefficient is from the film manufacture.
Prepared for: Lime Energy

## Window Measurements
|  |  |  | Solar Window Insert Measurment Form |  |  |  |  | ….Submit with Energy Audit Form
Contact Name: |  |  |  | Title: |  |  |  | Date:
Company:
Address
Phone:
Email:
|  |  |  | Use Fractions 1/8 to 1/16 |  |  | Square Footage auto calculates
Line | Floor | Face | Window Location | Width | Height | Qty | SF | Total per side | Orientation
1 | 2 | w | Example - Office 2116 | 30.125 | 25.1875 | 22 | 115.9237
2 | 3 | w | Example - Office 3116 | 45.125 | 53.1875 | 33 | 550.0197
3 | [6 empty] | 0
4 | [6 empty] | 0
5 | [6 empty] | 0
6 | [6 empty] | 0
7 | [6 empty] | 0
8 | [6 empty] | 0
9 | [6 empty] | 0
10 | [6 empty] | 0
11 | [6 empty] | 0
12 | [6 empty] | 0
13 | [6 empty] | 0
14 | [6 empty] | 0
15 | [6 empty] | 0
16 | [6 empty] | 0
17 | [6 empty] | 0
18 | [6 empty] | 0
19 | [6 empty] | 0
20 | [6 empty] | 0
21 | [6 empty] | 0
22 | [6 empty] | 0
23 | [6 empty] | 0
24 | [6 empty] | 0
25 | [6 empty] | 0
26 | [6 empty] | 0
27 | [6 empty] | 0
28 | [6 empty] | 0
29 | [6 empty] | 0
30 | [6 empty] | 0
31 | [6 empty] | 0
32 | [6 empty] | 0
33 | [6 empty] | 0
34 | [6 empty] | 0
35 | [6 empty] | 0
36 | [6 empty] | 0
37 | [6 empty] | 0
38 | [6 empty] | 0
39 | [6 empty] | 0
40 | [6 empty] | 0
41 | [6 empty] | 0
42 | [6 empty] | 0
43 | [6 empty] | 0
44 | [6 empty] | 0
45 | [6 empty] | 0
46 | [6 empty] | 0
47 | [6 empty] | 0
48 | [6 empty] | 0
49 | [6 empty] | 0
50 | [6 empty] | 0
51 | [6 empty] | 0
52 | [6 empty] | 0
53 | [6 empty] | 0
54 | [6 empty] | 0
55 | [6 empty] | 0
56 | [6 empty] | 0
57 | [6 empty] | 0
58 | [6 empty] | 0
59 | [6 empty] | 0
60 | [6 empty] | 0
61 | [6 empty] | 0
62 | [6 empty] | 0
63 | [6 empty] | 0
64 | [6 empty] | 0
65 | [6 empty] | 0
66 | [6 empty] | 0
67 | [6 empty] | 0
68 | [6 empty] | 0
69 | [6 empty] | 0
70 | [6 empty] | 0
71 | [6 empty] | 0
72 | [6 empty] | 0
73 | [6 empty] | 0
74 | [6 empty] | 0
75 | [6 empty] | 0
76 | [6 empty] | 0
77 | [6 empty] | 0
78 | [6 empty] | 0
79 | [6 empty] | 0
80 | [6 empty] | 0
81 | [6 empty] | 0
82 | [6 empty] | 0
83 | [6 empty] | 0
84 | [6 empty] | 0
85 | [6 empty] | 0
86 | [6 empty] | 0
87 | [6 empty] | 0
88 | [6 empty] | 0
89 | [6 empty] | 0
90 | [6 empty] | 0
91 | [6 empty] | 0
92 | [6 empty] | 0
93 | [6 empty] | 0
94 | [6 empty] | 0
95 | [6 empty] | 0
96 | [6 empty] | 0
97 | [6 empty] | 0
98 | [6 empty] | 0
99 | [6 empty] | 0
100 | [6 empty] | 0
101 | [6 empty] | 0
102 | [6 empty] | 0
103 | [6 empty] | 0
104 | [6 empty] | 0
105 | [6 empty] | 0
106 | [6 empty] | 0
107 | [6 empty] | 0
108 | [6 empty] | 0
109 | [6 empty] | 0
110 | [6 empty] | 0
111 | [6 empty] | 0
112 | [6 empty] | 0
113 | [6 empty] | 0
114 | [6 empty] | 0
115 | [6 empty] | 0
116 | [6 empty] | 0
117 | [6 empty] | 0
118 | [6 empty] | 0
119 | [6 empty] | 0
120 | [6 empty] | 0
121 | [6 empty] | 0
122 | [6 empty] | 0
123 | [6 empty] | 0
124 | [6 empty] | 0
125 | [6 empty] | 0
126 | [6 empty] | 0
127 | [6 empty] | 0
128 | [6 empty] | 0
129 | [6 empty] | 0
130 | [6 empty] | 0
131 | [6 empty] | 0
132 | [6 empty] | 0
133 | [6 empty] | 0
134 | [6 empty] | 0
135 | [6 empty] | 0
136 | [6 empty] | 0
137 | [6 empty] | 0
138 | [6 empty] | 0
139 | [6 empty] | 0
140 | [6 empty] | 0
141 | [6 empty] | 0
142 | [6 empty] | 0
143 | [6 empty] | 0
144 | [6 empty] | 0
145 | [6 empty] | 0
146 | [6 empty] | 0
147 | [6 empty] | 0
148 | [6 empty] | 0
149 | [6 empty] | 0
150 | [6 empty] | 0
151 | [6 empty] | 0
152 | [6 empty] | 0
153 | [6 empty] | 0
154 | [6 empty] | 0
155 | [6 empty] | 0
156 | [6 empty] | 0
157 | [6 empty] | 0
158 | [6 empty] | 0
159 | [6 empty] | 0
160 | [6 empty] | 0
161 | [6 empty] | 0
162 | [6 empty] | 0
163 | [6 empty] | 0
164 | [6 empty] | 0
165 | [6 empty] | 0
166 | [6 empty] | 0
167 | [6 empty] | 0
168 | [6 empty] | 0
169 | [6 empty] | 0
170 | [6 empty] | 0
171 | [6 empty] | 0
172 | [6 empty] | 0
173 | [6 empty] | 0
174 | [6 empty] | 0
175 | [6 empty] | 0
176 | [6 empty] | 0
177 | [6 empty] | 0
178 | [6 empty] | 0
179 | [6 empty] | 0
180 | [6 empty] | 0
181 | [6 empty] | 0
182 | [6 empty] | 0
183 | [6 empty] | 0
184 | [6 empty] | 0
185 | [6 empty] | 0
186 | [6 empty] | 0
187 | [6 empty] | 0
188 | [6 empty] | 0
189 | [6 empty] | 0
190 | [6 empty] | 0
191 | [6 empty] | 0
192 | [6 empty] | 0
193 | [6 empty] | 0
194 | [6 empty] | 0
195 | [6 empty] | 0
|  |  | TOTAL |  |  | 55 | 665.9434